## Sheet 1
№ reference point/ monitoring bolts | Height relative to the reference point, m | Standard error of measurements, m | Height relative to the reference point, m | Standard error of measurements, m | Height relative to the reference point, m | Standard error of measurements, m | Absolute deformation, mm | Standard error, mm | Absolute deformation, mm | Standard error, mm | This column is related to the column "K", see the comments in K22, K24, and K39.
| 2017 |  | 2018 |  | 2019 |  | 2017/2018 |  | 2018/2019 |  |  |  | Absolute deformation, mm
PRP1 | 0 |  | 0 |  | 0 | [7 empty] | 2017/2018 | 2018/2018
PRP2 | 1.0321 | 0.0009332 | 1.0409 | 0.00027709 |  |  | 8.8422 | 0.97346 |  |  |  | PB2 | -2.3578 | -3.3236
PRP3 | 3.8736 | 0.00081328 | 3.5249 | 0.00026173 |  |  | -348.704 | 0.85436 |  |  |  | PB3 | -3.2097 | -3.5285
PRP4 | 10.7398 | 0.0007943 | 10.734 | 0.00020847 | 10.7282 | 9.6883e-05 | -5.7843 | 0.82121 | -5.8343 | 0.22989 |  | PB4 | -1.9092 | -4.1714
PRP5 |  |  | 11.1757 | 0.00020847 | 11.1736 | 9.6883e-05 |  |  | -2.1227 | 0.22989 |  | PB5 | -1.5083 | -4.1367
PB1 | 6.4051 | 0.00068644 | [9 empty] | PB6 | -1.7739 | -4.1366
PB2 | 6.7583 | 0.00068644 | 6.756 | 0.00017008 | 6.7526 | 0.00046844 | -2.3578 | 0.7072 | -3.3236 | 0.49836 |  | PB7 | -2.66 | -4.2809
PB3 | 5.8951 | 0.00055569 | 5.8919 | 8.1386e-05 | 5.8883 | 7.0622e-05 | -3.2097 | 0.56162 | -3.5285 | 0.10775 |  | PB8 | -3.7538 | -4.2967
PB4 | 4.7069 | 0.00055569 | 4.7049 | 8.1386e-05 | 4.7008 | 7.0622e-05 | -1.9092 | 0.56162 | -4.1714 | 0.10775 |  | PB9 | -5.3484 | -5.0439
PB5 | 4.6912 | 0.00055569 | 4.6897 | 8.1386e-05 | 4.6856 | 7.0622e-05 | -1.5083 | 0.56162 | -4.1367 | 0.10775 |  | PB10 | -5.647 | -5.1685
PB6 | 4.6979 | 0.00055569 | 4.6961 | 8.1386e-05 | 4.692 | 7.0622e-05 | -1.7739 | 0.56162 | -4.1366 | 0.10775 |  | PB11 | -4.6306 | -5.0163
PB7 | 4.7112 | 0.00055569 | 4.7085 | 8.1386e-05 | 4.7043 | 7.0622e-05 | -2.66 | 0.56162 | -4.2809 | 0.10775 |  | PB13 | -3.4138 | -3.0416
PB8 | 4.6524 | 0.00055569 | 4.6487 | 8.1386e-05 | 4.6444 | 7.0622e-05 | -3.7538 | 0.56162 | -4.2967 | 0.10775 |  | PB14 | -1.6478 | -3.3573
PB9 | 4.6169 | 0.00055569 | 4.6115 | 8.1386e-05 | 4.6065 | 7.0622e-05 | -5.3484 | 0.56162 | -5.0439 | 0.10775 |  | PB15 | -2.6948 | -2.4686
PB10 | 4.5891 | 0.00055569 | 4.5835 | 8.1386e-05 | 4.5783 | 7.0622e-05 | -5.647 | 0.56162 | -5.1685 | 0.10775 |  | PB16 | -2.1566 | -2.393
PB10* | 4.5981 | 0.00055569 | [9 empty] | PB17 | -1.7027 | -1.4696
PB11 | 6.3246 | 0.00055569 | 6.3 | 8.1386e-05 | 6.295 | 8.1386e-05 | -24.6306 | 0.56162 | -5.0163 | 0.1151 | -4.6306 | PB18 | -1.5529 | -3.0278
PB12 | 6.3992 | 0.00055569
PB13 | 6.4324 | 0.00055569 | 6.4089 | 8.1386e-05 | 6.4059 | 4.6664e-05 | -23.4138 | 0.56162 | -3.0416 | 0.093815 | -3.4138
PB14 | 6.5469 | 0.00055569 | 6.5453 | 0.0002122 | 6.5419 | 4.6664e-05 | -1.6478 | 0.59483 | -3.3573 | 0.21727
PB15 | 4.5658 | 0.00055569 | 4.5631 | 0.0002122 | 4.5607 | 4.6664e-05 | -2.6948 | 0.59483 | -2.4686 | 0.21727
PB16 | 4.5722 | 0.00055569 | 4.5701 | 0.0002122 | 4.5677 | 4.6664e-05 | -2.1566 | 0.59483 | -2.393 | 0.21727
PB17 | 4.6086 | 0.00055569 | 4.6069 | 0.0002122 | 4.6055 | 4.6664e-05 | -1.7027 | 0.59483 | -1.4696 | 0.21727
PB18 | 4.5673 | 0.00055569 | 4.5657 | 0.0002122 | 4.5627 | 4.6664e-05 | -1.5529 | 0.59483 | -3.0278 | 0.21727
PB19 | 5.7905 | 0.00055569
PB 1* |  |  | 6.4053 | 0.0002122
PR 1 | 2.3793 | 0.00068644
PR 2 | 5.4939 | 0.00068644
PR 3 | 2.1835 | 0.0007943 | 2.1195 | 0.00020847 | 2.1173 | 9.6885e-05 | -64.0135 | 0.82121 | -2.2721 | 0.22989 | -4.0135
PR 4 | 2.3703 | 0.0007943 | 2.3073 | 0.00020847 | 2.3066 | 9.6885e-05 | -62.9735 | 0.82121 | -0.70209 | 0.22989 | -2.9735
PR 5 | 2.4572 | 0.0007943 | 2.3899 | 0.00020847 | 2.3847 | 9.6885e-05 | -67.2768 | 0.82121 | -5.238 | 0.22989 | -7.2768
PR 6 | 2.8132 | 0.0007943 | 2.7596 | 0.00020847 | 2.7605 | 9.6885e-05 | -53.5739 | 0.82121 | 0.90708 | 0.22989 | 6.4261
PR 7 | 2.9169 | 0.0007943 | 2.8554 | 0.00020847 | 2.8549 | 9.6885e-05 | -61.4888 | 0.82121 | -0.45977 | 0.22989 | -1.4888
PR 8 | 3.8677 | 0.0007943 | 3.8039 | 0.00020847 | 3.8025 | 9.6885e-05 | -63.7789 | 0.82121 | -1.3726 | 0.22989 | -3.7789
PUB 1 | 5.5052 |  | 5.5027 | 0.00033684 | 5.5004 | 0.00030923 | -2.5307 | 0.33684 | -2.2854 | 0.45726
PUB 2 | 5.4271 |  | 5.4255 | 0.00033684 | 5.4227 | 0.00030923 | -1.6197 | 0.33684 | -2.7417 | 0.45726
PUB 3 | 5.5689 |  | 5.5669 | 0.00033684 | 5.5646 | 0.00030923 | -1.9816 | 0.33684 | -2.3291 | 0.45726
PUB 4 | 5.5933 |  | 5.591 | 0.00033684 | 5.5889 | 0.00030923 | -2.2598 | 0.33684 | -2.1644 | 0.45726
PUB 5 | 5.5035 |  | 5.5014 | 0.00033684 | 5.4998 | 0.00030923 | -2.1378 | 0.33684 | -1.5965 | 0.45726
PUB 6 | 5.5754 |  | 5.5735 | 0.00033684 | 5.572 | 0.00030923 | -1.8716 | 0.33684 | -1.4581 | 0.45726
PUB 7 | 5.5918 |  | 5.5901 | 0.00033684 | 5.5887 | 0.00030923 | -1.7084 | 0.33684 | -1.3874 | 0.45726
PUB 8 | 5.5875 |  | 5.5857 | 0.00033684 | 5.5843 | 0.00030923 | -1.7839 | 0.33684 | -1.3966 | 0.45726
PUB 9 | 5.5783 |  | 5.5762 | 0.00033684 | 5.5748 | 0.00030923 | -2.1666 | 0.33684 | -1.3924 | 0.45726
PUB 10 | 5.6319 |  | 5.6302 | 0.00033684 | 5.6284 | 0.00030923 | -1.7532 | 0.33684 | -1.8082 | 0.45726
PUB 11 | 5.5206 |  | 5.5184 | 0.00033684 | 5.5172 | 0.00030923 | -2.2131 | 0.33684 | -1.1639 | 0.45726
PUB 12 | 5.5724 |  | 5.5705 | 0.00033684 | 5.5695 | 0.00030923 | -1.9577 | 0.33684 | -0.94436 | 0.45726
PUB 13 | 5.5691 |  | 5.5675 | 0.00033684 | 5.5662 | 0.00030923 | -1.5973 | 0.33684 | -1.2502 | 0.45726
PUB 14 | 5.5866 |  | 5.5841 | 0.00033684 | 5.5833 | 0.00030923 | -2.4816 | 0.33684 | -0.79527 | 0.45726
PUB 15 | 5.6049 |  | 5.6033 | 0.00033684 | 5.6017 | 0.00030923 | -1.6661 | 0.33684 | -1.564 | 0.45726
PUB 16 | 5.5774 |  | 5.5748 | 0.00033684 | 5.5739 | 0.00030923 | -2.569 | 0.33684 | -0.8882 | 0.45726
PUB 17 | 5.5467 |  | 5.5447 | 0.00033684 | 5.5436 | 0.00030923 | -1.9984 | 0.33684 | -1.1359 | 0.45726
PUB 18 | 5.4535 |  | 5.4515 | 0.00033684 | 5.4499 | 0.00030923 | -1.9967 | 0.33684 | -1.5903 | 0.45726
PUB 19 | 5.5481 |  | 5.5459 | 0.00033684 | 5.5439 | 0.00030923 | -2.2168 | 0.33684 | -1.9734 | 0.45726
Note on Q6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Copy of column K
Note on R6: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Copy of Column M.
Note on K22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This value was obtained with inverted bar staff, hence a difference of 20 mm was introduced and the result is presented in Column O (i.e.: -24,6306+20=-4,6306)
Note on K24: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: This value was obtained with inverted bar staff, hence a difference of 20 mm was introduced and the result is presented in Column O (i.e.: -23,4138+20=-3,4138)
Note on K34: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: These values include heights of the base plate, which is 60 mm; thickness of the base plate was taken into account to calculate the absolute values of displacements in Column O, i.e. 60 mm were added to each reading.