## Låven
Reference point/ monitoring bolts | Height relative to the reference point, m | Standard error of measurements, m | Height relative to the reference point, m | Standard error of measurements, m | Height relative to the reference point,m | Standard error of measurements, m | Absolute deformation, mm | Standard error, mm | Absolute deformation, mm | Standard error, mm
| 2017 |  | 2018 |  | 2019 |  | 2017/2018 |  | 2018/2019
SRP1 | 0 |  | 0 |  | 0
S1 | 9.9866 | 0.008155 | 9.9832 | 0.001958 | 9.9808 | 0.00030146 | -3.4605 | 8.3868 | -2.3815 | 1.9811
S2 | 9.9428 | 0.00032516 | 9.938 | 0.00025646 | 9.9359 | 0.00028815 | -4.8128 | 0.41413 | -2.1464 | 0.38575
S3 | 9.9508 | 0.00032516 | 9.947 | 0.00025646 | 9.9444 | 0.00028815 | -3.7998 | 0.41413 | -2.5643 | 0.38575
S4 | 9.9146 | 0.00032516 | 9.91 | 0.00025646 | 9.909 | 0.00028815 | -4.6177 | 0.41413 | -0.99708 | 0.38575
S5 | 9.9516 | 0.00032516 | 9.9479 | 0.00025646 | 9.9469 | 0.00028815 | -3.6883 | 0.41413 | -0.98576 | 0.38575
S6 | 10.0271 | 0.00032516 | 10.0229 | 0.00025646 | 10.022 | 0.00028815 | -4.1657 | 0.41413 | -0.90836 | 0.38575
S7 | 10.196 | 0.00032516 | 10.1922 | 0.00025646 | 10.1909 | 0.00028815 | -3.7622 | 0.41413 | -1.2939 | 0.38575
S8 | 10.1868 | 0.00032516 | 10.1837 | 0.00025646 | 10.1835 | 0.00028815 | -3.1084 | 0.41413 | -0.23291 | 0.38575
S9 | 10.1507 | 0.00032516 | 10.1488 | 0.00025646 | 10.1463 | 0.00028815 | -1.9076 | 0.41413 | -2.482 | 0.38575
S10 | 10.0396 | 0.00032516 | 10.0382 | 0.00025646 | 10.0357 | 0.00028815 | -1.3527 | 0.41413 | -2.5114 | 0.38575
S11 | 10.0445 | 0.00032516 | 10.044 | 0.00025646 | 10.0412 | 0.00028815 | -0.50121 | 0.41413 | -2.7586 | 0.38575
S12 | 10.2977 | 0.00032516 | 10.2976 | 0.00025646 | 10.2969 | 0.00028815 | -0.11816 | 0.41413 | -0.69935 | 0.38575
S13 |  |  | 10.0402 | 0.00025646 | 10.0383 | 0.00028815 |  |  | -1.8643 | 0.38575
S14 |  |  | 10.0364 | 0.00025646 | 10.0328 | 0.00028815 |  |  | -3.5984 | 0.38575
S15 |  |  | 10.0442 | 0.00025646 | 10.0394 | 0.00028815 |  |  | -4.8363 | 0.38575
S16 |  |  | 10.0306 | 0.00025646 | 10.0266 | 0.00028815 |  |  | -4.0376 | 0.38575

## Garage
Monitoring points | Elevation of monitoring points, m |  |  | Elevation of monitoring points, m |  |  | Absolute deformation, mm
| 2017 | 2018 | 2019 | 2017 | 2018 | 2019 | 2017/2018 | 2018/2019
SGP 1 | Elevation of monitoring points, m 2017: 0; Elevation of monitoring points, m 2018: 0; Elevation of monitoring points, m 2019: 0
SGP 2 | -0.000851 | 0.004166 | 0.00553 | -0.851 | 4.166 | 5.53 | -5.017 | -1.364
SGP 3 | -0.015534 | -0.008038 | -0.004245 | -15.534 | -8.038 | -4.245 | -7.496 | -3.793
SGP 4 | -0.020258 | -0.009563 | -0.005562 | -20.258 | -9.563 | -5.562 | -10.695 | -4.001
SGP 5 | -0.015705 | -0.003312 | 0.006385 | -15.705 | -3.312 | 6.385 | -12.393 | -9.697
SGP 6 | -0.003186 | 0.010372 | 0.017747 | -3.186 | 10.372 | 17.747 | -13.558 | -7.375
SGP 7 | 0.023384 | 0.035429 | 0.041395 | 23.384 | 35.429 | 41.395 | -12.045 | -5.966
SGP 8 | 0.052791 | 0.064226 | 0.069575 | 52.791 | 64.226 | 69.575 | -11.435 | -5.349
SGP 9 | 0.070978 | 0.081899 | 0.087573 | 70.978 | 81.899 | 87.573 | -10.921 | -5.674
SGL 1 | Elevation of monitoring points, m 2017: 0; Elevation of monitoring points, m 2018: 0
SGL 2 | 0.00921 | 0.005784 | 0.009928 | 9.21 | 5.784 | 9.928 | 3.426 | -4.144
SGL 3 | 0.008571 | 0.012019 | 0.016859 | 8.571 | 12.019 | 16.859 | -3.448 | -4.84
SGL 4 | -0.01188 | -0.005845 | -0.000669 | -11.88 | -5.845 | -0.669 | -6.035 | -5.176
SGL 5 | -0.035622 | -0.028945 | -0.026525 | -35.622 | -28.945 | -26.525 | -6.677 | -2.42
SGL 6 | -0.005214 | -0.000337 | 0.006307 | -5.214 | -0.337 | 6.307 | -4.877 | -6.644
SGL 7 | 0.027135 | 0.034351 | 0.039001 | 27.135 | 34.351 | 39.001 | -7.216 | -4.65
SGL 8 | 0.061368 | 0.069959 | 0.075397 | 61.368 | 69.959 | 75.397 | -8.591 | -5.438
SGL 9 | 0.097243 | 0.10817 | 0.11641 | 97.243 | 108.17 | 116.412 | -10.927 | -8.242