## General
General input data
Building/project
AHU #
AHU operating point
Date balanced
Balanced by
Design flow units | m3/h | (alternatives: pa, cfm, dm3/s, l/s, l/min, m3/h, m3/s)
Balancing accuracy | 5%
Language version | 1 | (English)
Note on B2: Building / project name or description
Note on B3: Description of duct system being balanced. Mention the air handling unit (e.g. number/code), and whether it is the supply or exhaust duct system.
Note on B4: Air handling unit setting during balancing: e.g. flow rate, fan speed, pressure rise, or variable frequency drive setting)
Note on B5: Date when balancing was conducted
Note on B6: Your name
Note on B8: Units of measurement of the design flow rate for terminals/dampers, i.e. column E in the "Balancing" worksheet. The alternatives are listed to the right.
Note on B9: Required accuracy of balancing. A higher percentage means that the spreadsheet will accept a higher percentage deviation from perfectly balanced flow rate at each individual terminal/damper.
Note on B10: Language number: 1: English 2: Czech 3: Danish 4: Dutch 5: French 6: Greek 7: Korean 8: Norwegian 9: Spanish You can add more languages; contact peter.schild@sintef.no

## Balancing
Term. | %design | Guess1 | Meas.units | Desig.m3/h | (empty col.) | Initial & Balancing (clear these yellow columns before starting a new balancing group) |  | (no more columns)
A1 | 100% | (I&R) | m3/h | 100 |  |  | 100
A2 | 100% | - | m3/h | 100 |  |  | 100
A3 | 100% | - | m3/h | 100 |  |  | 100
A4 | 100% | OK! | m3/h | 100 |  |  | 100
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
| . | .
(no more rows)
| Green = ± | 5%
Note on A1: Terminal/damper code. ● Fill out the green columns for all terminals & dampers in the system before balancing (can be done beforehand in the office). ● This column is just for your information; it is not used as input for calculations. ● You can list all the terminals/dampers in the whole system, both supply and exhaust.
Note on B1: Percentage of designed flow rate: = Measured / Designed × 100% For optimum accuracy, try to keep in range 70%-140%. Values exceeding this are coloured red. ● The equations in thus column must not be changed or deleted!
Note on C1: Information column: ● Location of Referance (R) and Critical (C) terminal/damper. ● Suggested adjustment (estimated), either approximate first guess ("Estim.1") or more accurate iterated estimate ("Estim.2", "Estim.3", osv). ● Or other advice / messages. ● The equations in this column must not be changed / deleted!
Note on D1: Measurement units of the instruments used for balancing. ● Alternatives: pa, m3/h, m3/s, l/s, dm3/s, cfm ● Terminals/dampers can have different measurement units.
Note on E1: Designed air flow rate though each terminal or damper. ● Measurement unit is defined in worksheet "General". ● One can list all the terminals/ dampers in the whole system, both supply and exhaust (Can be done beforehand in the office).
Note on F1: K-factor [ℓ/s @ 1Pa] ● The K-factor is only needed for terminals/dampers where one measures air flow rate indirectly by means of a manometer (differential air pressure). ● Therefore this column is left empty for terminals/dampers where you measure the air flow rate directly. ● Definition: Q = k×√∆p where: Q=m³/h, k=k-factor, ∆p=pa ● For pitot tube traverse: k≈1291×A where: A=duct cross section area [m²]
Note on H1: Initial (orienting) measurements: ● Take the initial measurements before starting balancing. Initial measurements are often done with fully open terminals/dampers. ● Alternatively, this column can be used for control-measurement of the whole, or part of the, duct system. ● When balancing, you should normally only fill in the rows for one balancing group at a time (e.g. a row of terminals) ● All cells in the yellow columns shall be cleared apart from the cells that belong to the group being balanced. ● Initial measurements should include all terminals/dampers in the balancing group.
Note on I1: Measurements during balancing ● All cells in the yellow columns shall be empty apart from the cells that belong to the duct string being balanced. ● Use a new column after each adjustment. You can have more than one adjustment per terminal/damper ● Normally you enter 2 measurements in each column: (1) the terminal/damper being balanced, and (2) the simultaneous measurement at the Reference terminal. ● You can actually enter more than 2 measurements per column, if you wish. ● You do not actually have to use the end terminal/damper as Reference (though this is normally recommended).

## Calcs (hidden)
Do not change this worksheet ! | Row\Col | facM>m3s | Prosj.m3/s | Orein.m3/s | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 |  | Empty? | BadUnits? | Row#2ndLastCol | Row#lastCol | Both | Row#balance! | Row#lastCol_notIndex | IndexRow | RefRow | Guess m3/s | Guess IOunits | Message | % prosj. | Estimat | f1,e sP | f2,d sO | b_1st,VAVg,this | b_end,true,this |  | LastCol | Da | Qa,1 | ra2,VAV | Db | Qb,1 | r(Qb,2) | Qb,2 | x | z | r,CAV | Guess% |  | Languages: | 1 | English | English | Česky | Dansk | Nederlands | Français | Ελληνικά | 한국어 | Norsk | Español | No more languages
| 1 | 0.00027778 | 0.027778 | 0.027778 | [32 empty] | FALSE | FALSE | - | 1 | - | ok | index | 1 | 1 | 0.027778 | OK! |  | 100% | (I&R) | 0.027778 | 0.027778 | #VALUE! | #VALUE! | Estim.0.orient |  | 0.11111 | 0.11111 | [7 empty] | 1 | 1 | Weighted: 55%VAV, 45%CAV. Valid only for column 1 |  | 2 | General input data | General input data | Obecné vstupní data | Generelle inputdata | Algemene invoergegevens | Données générales | Δεδομένα εισόδου | 일반 입력 데이터 | Generell inndata | Entrada general de datos | bar: 1 to 31
| 2 | 0.00027778 | 0.027778 | 0.027778 | [32 empty] | FALSE | FALSE | - | 2 | - | ok | 2 | 2 | 2 | 0.027778 | OK! |  | 100% | - | 0.055556 | 0.055556 | #VALUE! | #VALUE! | Index f, if unbalanced above index | [11 empty] | 1 | 100% VAV |  | 3 | Building/project | Building/project | Bodova/projekt | Bygning/projekt | Gebouw/project | Bâtiment / projet | Κτίριο/έργου | 건물/프로젝트 | Bygning/prosjekt | Edificio / proyecto | bar: 1 to 31
| 3 | 0.00027778 | 0.027778 | 0.027778 | [32 empty] | FALSE | FALSE | - | 3 | - | ok | 3 | 3 | 3 | 0.027778 | OK! |  | 100% | - | 0.083333 | 0.083333 | #VALUE! | #VALUE! | This Row guess | 0 | 0.083333 | 0.083333 | #VALUE! | 0.027778 | 0.027778 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | Best guess between VAV & CAV |  | 4 | AHU # | AHU # | Větrací jednotka # | System # | MVU # | Groupe n° | ΜΔΑ # | 시스템 수 | Anlegg # | Numero de unidades de tratamiento de aire (UTA) | bar: 1 to 31
| 4 | 0.00027778 | 0.027778 | 0.027778 | [32 empty] | FALSE | FALSE | - | 4 | - | ok | 4 | 4 | 4 | 0.027778 | OK! |  | 100% | OK! | 0.11111 | 0.11111 | - | #VALUE! | MinLastCol (Index), if all else fails | [11 empty] | #VALUE! | Min (indx) % |  | 5 | AHU operating point | AHU operating point | Provozní bod | Aggregat innstilling | MVU volume | Position de réglage | Σημείο λειτουργίας ΜΔΑ | 시스템 운전포인트 | Aggregat innstilling | ¿punto de operación de la UTA? | bar: 1 to 31
| 5 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [12 empty] | 1 | OUTPUT |  | 6 | Date balanced | Date balanced | Datum | Dato innregulert | Datum | Date d'équilibrage | Ημερομηνία | 날짜 | Dato innregulert | Fecha del equilibrado | bar: 1 to 31
| 6 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - |  | #VALUE! | #VALUE! | #VALUE! | [11 empty] | 7 | Balanced by | Balanced by | Vyvážena, jméno | Utført av | Ingesteld door | Nom de l'opérateur | Εξισορροπημένο από | 밸런싱 수행자 | Utført av | Nombre de la persona que realizó el equilibrado | bar: 1 to 31
| 7 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - |  | #VALUE! | [10 empty] | #VALUE! |  |  | 8 | Design flow units | Design flow units | Náv. jednotka průtoku | Prosj.måleenhet | Gebruikte eenheid ontwerp | Unité de débit | Μονάδες παροχής σχεδιασμού | 설계유량 단위 | Prosj.måleenhet | Unidades SI de diseño del flujo | bar: 1 to 31
| 8 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 9 | Balancing accuracy | Balancing accuracy | Přesnost vyvážení | Innreg.nøyaktighet | Nauwkeurigheid instelling | Précision requise | Ακρίβεια εξισορρόπησης | 밸런싱 정확도 | Innreg.nøyaktighet | Precisión del equilibrado | bar: 1 to 31
| 9 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | can use bestguess? |  | #VALUE! | [12 empty] | 10 | (alternatives: pa, cfm, dm3/s, l/s, l/min, m3/h, m3/s) | (alternatives: pa, cfm, dm3/s, l/s, l/min, m3/h, m3/s) | (alternativy: pa, cfm, dm3/s, l/s, l/min, m3/h, m3/s) | (alternativ: pa, cfm, dm3/s, l/s, l/min, m3/h, m3/s) | (alternatieven: pa, cfm, dm3/s, l/s, l/min, m3/h, m3/s) | (Alternatives: pa, cfm, dm3/s, l/s, l/min, m3/h, m3/s) | (εναλλακτικά: pa, cfm, dm3/s, l/s, l/min, m3/h, m3/s) | (대체 단위: pa, cfm, dm3/s, l/s, l/min, m3/h, m3/s) | (alternativer: pa, cfm, dm3/s, l/s, l/min, m3/h, m3/s) | (alternativas: pa, cfm, dm3/s, l/s, l/min, m3/h, m3/s) | bar: 1 to 31
| 10 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 11 | Term. | Term. | Klapka | Spjeld | Ventiel | Bouch | ΤΔΑ | 터미널(댐퍼) | Spjeld | Term.aire | bar: 1 to 31
| 11 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - |  |  | #VALUE! | #VALUE! | [11 empty] | 12 | %design | %design | %/Návrh | %/Prosj. | %/Ontwerp. | %/Proj | %/Σχέδιο | 설계유량 비율 | %/Prosj. | %/Diseño | bar: 1 to 31
| 12 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - |  |  | #VALUE! | #VALUE! | [11 empty] | 13 | Message | Message | Message | Medling | Bericht | Message | Μήνυμα | 메시지 | Medling | Mensaje | bar: 1 to 31
| 13 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - |  |  | TRUE | [12 empty] | 14 | Guess | Guess | Odhad | Estim. | Raden | Estim. | Εκτίμηση | 예측 | Estim. | Estim. | bar: 1 to 31
| 14 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 15 | Meas.units | Meas.units | Jed. | Måleenhet | Eenheid | Unité | Μονάδες μέτρησης | 측정 단위 | Måleenhet | Unid.de.Med | bar: 1 to 31
| 15 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 16 | Desig. | Desig. | Návrh, | Prosj. | Ontwerp, | Desig., | Σχεδ. | 설계유량: | Prosj. | Diseño, | bar: 1 to 31
| 16 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 17 | K-factor,l/s | K-factor,l/s | K (l/s)? | K-faktor,l/s | K-fact.(l/s) | K-fact.(l/s) | Συντελεστής Κ(l/s) | K-factor,l/s | K-faktor,l/s | factor-K,l/s | bar: 1 to 31
| 17 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 18 | (empty col.) | (empty col.) | (mezera) | (tom kolonne) | (lege kolom) | (col. vide) | Κενή στήλη | (공란) | (tom kolonne) | (colum.vacia) | bar: 1 to 31
| 18 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 19 | Initial & Balancing (clear these yellow columns before starting a new balancing group) | Initial & Balancing (clear these yellow columns before starting a new balancing group) | Počátek & Vyvážení (na počátku vymazat sloupce | Orient. & Innregulering (tøm disse gule kolonner før hver streng) | Initieel & instellingen(maak de colummen leeg voor aanvang) | Initial & Equilibrage (videz ces colonnes avant de commencer) | Αρχική τιμή και Εξισορρόπηση (Καθαρίστε αυτές τις στήλες πριν εισάγετε οτιδήποτε νέο) | 초기&밸런싱(새로운 문장을 입력하기 전에 이 열을 지우시오) | Orient. & Innregulering (tøm disse gule kolonner før hver streng) | Inicial & Equilibrado (Borrar estas columnas antes de empezar una nueva serie) | bar: 1 to 31
| 19 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 20 | Do not change this worksheet ! | Do not change this worksheet ! | Neměňte tento list! | Dette arket skal ikke endres ! | Breng geen veranderingen aan in dit werkblad | Ne pas modifier cette feuille de travail! | Μην αλλάξετε αυτό το φύλλο εργασίας! | 이 워크시트를 변경하지 마십시오! | Dette arket skal ikke endres ! | No cambiar esta hoja de cálculo! | bar: 1 to 31
| 20 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 21 | (I&R) | (I&R) | (I+R) | (I+R) | (I+R) | (I+R) | (Α&Δ) | 인덱스/참조 | (I+R) | (I+R) | bar: 1 to 31
| 21 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 22 | (Ref.) | (Ref.) | (R) | (R) | (R) | (R) | (Αναφ.) | 참조 | (R) | (R) | bar: 1 to 31
| 22 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 23 | (Index) | (Index) | (I) | (I) | (I) | (I) | (Δείκτης) | 인덱스 | (I) | (I) | bar: 1 to 31
| 23 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 24 | Units? | Units? | Jednotka? | Enhet? | Eenheid? | Unités? | Μονάδες? | 단위? | Enhet? | ¿Unidades? | bar: 1 to 31
| 24 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 25 | K-fact? | K-fact? | K? | K-fakt? | K-fact? | K-fact? | Συντ. Κ? | K-fact? | K-fakt? | ¿Fact-K? | bar: 1 to 31
| 25 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 26 | Design? | Design? | Návrh? | Prosj? | Ontwerp. | Projet? | Σχεδιασμός? | 설계유량? | Prosj? | ¿Diseño? | bar: 1 to 31
| 26 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 27 | Initial? | Initial? | Poč.? | Orient? | Initieel? | Init.? | Αρχική? | 초기측정치? | Orient? | ¿Inicial? | bar: 1 to 31
| 27 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 28 | Next> | Next> | Další> | Måle> | Volgende | Suite> | Επόμενο> | 다음> | Måle> | Siguiente> | bar: 1 to 31
| 28 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 29 | (no more rows) | (no more rows) | (žádné další řádky) | (ikke flere rad) | (niet meer rijen) | (pas plus de lignes) | (δεν υπάρχουν περισσότερες σειρές) | (더 이상의 행이 없습니다) | (ikke flere rad) | (no hay más filas) | bar: 1 to 31
| 29 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 30 | (no more columns) | (no more columns) | (žádné další sloupce) | (ikke flere kolonner) | (niet meer kolommen) | (pas plus de colonnes) | (δεν υπάρχουν περισσότερες στήλες) | (더 이상의 열이 없습니다) | (ikke flere kolonner) | (no hay más columnas) | bar: 1 to 31
| 30 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [15 empty] | 31 | Check> | Check> | Kontr.> | Sjekk> | Contr | Contr.> | Έλεγχος> | 확인> | Sjekk> | Control> | bar: 1 to 31
| 31 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [17 empty] | insert new rows above | bar: 1 to 31
| 32 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | [16 empty] | Language | English | Czech | Danish | Dutch | French | Greek | Korean | Norwegian | Spanish | bar: 1 to 31
| 33 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 34 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 35 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 36 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 37 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 38 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 39 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 40 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 41 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 42 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 43 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 44 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 45 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 46 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 47 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 48 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 49 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
| 50 | #N/A | 0 | - | [32 empty] | TRUE | FALSE | - | - | - | - | - | - | - | 0 | OK! | . | . | . | 0.11111 | #VALUE! | - | - | bar: 1 to 31
▲terminals %. 1=orienteende målinger, 2+=innregulering
|  |  |  | Count | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Col#,>1 rows | bar: 1 to 31
Col#,only 2 rows (first & last) | bar: 1 to 31
|  |  |  | Both Rows <>"" | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
|  |  |  | Interp.Cols | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
FirstRowX | bar: 1 to 31
LastRowY | bar: 1 to 31
XX | bar: 1 to 31
YY | bar: 1 to 30
XY | bar: 1 to 31
ThisRow cols | bar: 1 to 31
|  |  | LastCol >1 rows | 1 | 2: Colour convention:
|  |  | FirstRow | 1 | 2: Green; 3: Cell formula contains references to Innregulering worksheet
|  |  | 1stRow unbal. | 0 | 2: Red; 3: Cell with unique fomula in a row/column of cells with same formula
|  |  | LastRow in lastCol | 4 | 2: Blue; 3: Cells which refer to neighbouring cells in same row or column (cumulative). Care should be taken when deleting rows/columns in the series
|  |  | Row estim. | 4
Types of estimate, with successively increasing degree of accuracy:
|  |  | N | 1 | 2: Guess0: first estimate right after orienteering measurements
|  |  | SumX | 1 | 2: Guess1: first estimate for new terminal (column 2+), 3R model (between CAV&VAV limits), based on changes from orienteering
|  |  | SumY | 1 | 2: Guess2+: interpolation of 2+ columns of measurements
|  |  | SumXX | 1
|  |  | SumYY | 1
|  |  | SumXY | 1
|  |  |  | x-y | 1: y-x
|  |  | denom | 0 | 1: 0
|  |  | b | #DIV/0! | 1: #DIV/0!; 3: ! Use any row for reference. Must be unchanged
|  |  | a | #DIV/0! | 1: #DIV/0!; 3: ! But this wont work for index-ref? all must have the atd being throttled, and index (or other ref.)
|  |  | cross at x=y= | #DIV/0! | 1: #DIV/0!
|  |  | best one, limited | #VALUE!
|  |  | est.2 possible | FALSE | 1: b can't be a positive slope. must reduce x to increase y, and vice versa. Also cant est.2 if first column after orient unless index->ref
|  |  | except. test | #VALUE! | 1: check if can use 1st best guess in col2, coz 1stRow trottled (decreased more than 2nd row increased), and row2 not index: a1+b1>a2+b2 & a1-a2>b1-b2
|  |  | exception col2 bestguess | FALSE
|  |  | interpolate? | FALSE
|  |  | Guess# | 1 | 1: account for guess1 exception in column 2
|  |  | MinOrient (Index) | 1
|  |  | RefRow | 1
|  |  | IndexRow | 1
|  |  | Row Next> | 5
|  |  | Row Next> jump over Index | 5
|  |  | Row Next>test | 0
|  |  | String Last Row | 4
|  |  | final avg r | #VALUE!
|  |  | Finished? | TRUE
| Volume flow rate conversion mult.fact to m3/s |  | l/min | 1.6667e-05
|  |  | m3/h | 0.00027778
|  |  | cfm | 0.0004664
|  |  | dm3/s | 0.001
|  |  | l/s | 0.001
|  |  | m3/s | 1
|  |  | Prosjektert Fac>m3/s | 0.00027778